## Sheet1
Register Name	Address Start
Event_Readout_Buffer	0x0000
Dummy1	0x1024
Dummy2	0x1124
Dummy3	0x1224
Dummy4	0x1324
Dummy5	0x1424
Dummy6	0x1524
Dummy7	0x1624
Dummy8	0x1724
DummyBroadcast	0x8024
Channel1Range	0x1028
Channel2Range	0x1128
Channel3Range	0x1228
Channel4Range	0x1328
Channel5Range	0x1428
Channel6Range	0x1528
Channel7Range	0x1628
Channel8Range	0x1728
ChannelRangeBroadcast	0x8028
Channel1PulseWidth	0x1070
Channel2PulseWidth	0x1170
Channel3PulseWidth	0x1270
Channel4PulseWidth	0x1370
Channel5PulseWidth	0x1470
Channel6PulseWidth	0x1570
Channel7PulseWidth	0x1670
Channel8PulseWidth	0x1770
ChannelPulseWidthBroadcast	0x8070
Channel1TriggerThreshold	0x1080
Channel2TriggerThreshold	0x1180
Channel3TriggerThreshold	0x1280
Channel4TriggerThreshold	0x1380
Channel5TriggerThreshold	0x1480
Channel6TriggerThreshold	0x1580
Channel7TriggerThreshold	0x1680
Channel8TriggerThreshold	0x1780
ChannelTriggerThresholdBroadcast	0x8080
Channel1TriggerLogic	0x1084
Channel2TriggerLogic	0x1184
Channel3TriggerLogic	0x1284
Channel4TriggerLogic	0x1384
Channel5TriggerLogic	0x1484
Channel6TriggerLogic	0x1584
Channel7TriggerLogic	0x1684
Channel8TriggerLogic	0x1784
ChannelTriggerLogicBroadcast	0x8084
Channel1Status	0x1088
Channel2Status	0x1188
Channel3Status	0x1288
Channel4Status	0x1388
Channel5Status	0x1488
Channel6Status	0x1588
Channel7Status	0x1688
Channel8Status	0x1788
Ch1AMCFirmware	0x108C
Ch2AMCFirmware	0x118C
Ch3AMCFirmware	0x128C
Ch4AMCFirmware	0x138C
Ch5AMCFirmware	0x148C
Ch6AMCFirmware	0x158C
Ch7AMCFirmware	0x168C
Ch8AMCFirmware	0x178C
Channel1DCOffset	0x1098
Channel2DCOffset	0x1198
Channel3DCOffset	0x1298
Channel4DCOffset	0x1398
Channel5DCOffset	0x1498
Channel6DCOffset	0x1598
Channel7DCOffset	0x1698
Channel8DCOffset	0x1798
ChannelDCOffsetBroadcast	0x8098
Channel1ADCTemp	0x10A8
Channel2ADCTemp	0x11A8
Channel3ADCTemp	0x12A8
Channel4ADCTemp	0x13A8
Channel5ADCTemp	0x14A8
Channel6ADCTemp	0x15A8
Channel7ADCTemp	0x16A8
Channel8ADCTemp	0x17A8
BoardConfigurationRead	0x8000
BoardConfigurationSet	0x8004
BoardConfigurationClear	0x8008
Buffer_Organization	0x800C
Custom_Size	0x8020
Channel_ADC_Calibration	0x809C
Acquisition_Control	0x8100
Acquisition_Status	0x8104
Software_Trigger	0x8108
Global_Trigger_Mask	0x810C
Front Panel_TRG-OUT_Enable_Mask	0x8110
Post_Trigger	0x8114
LVDS_Data	0x8118
Front_Panel_Control	0x811C
Channel_Enable	0x8120
ROC_FPGA_Firmware_Revision	0x8124
Event_Stored	0x812C
Set_Monitor_DAC	0x8138
Software_Clock_Sync	0x813C
Board_Info	0x8140
Monitor_DAC_Mode	0x8144
Event_Size	0x814C
Fan_Speed_Control	0x8168
Memory_Buffer_Almost_Full_Level	0x816C
Run_Delay	0x8170
Board_Failure_Status	0x8178
Front_Panel_LVDS_New_Features	0x81A0
Channels_Shutdown	0x81C0
Readout_Control	0xEF00
Readout_Status	0xEF04
Board_ID	0xEF08
MCST_Base_Address_and_Control	0xEF0C
Relocation_Address	0xEF10
Interrupt_Status	0xEF14
Interrupt_Event_Number	0xEF18
Max_Events_per_BLT	0xEF1C
Scratch	0xEF20
Software_Reset	0xEF24
Software_Clear	0xEF28
Configuration_Reload	0xEF34